Myerstown, PA  17067

December 11, 2025

Chairman Patrick Angley called the regular monthly meeting to order at 7:00 p.m., prevailing time.  The meeting was held in the Conference Room of the Myerstown Water Treatment Facility situated at 601 Stracks Dam Road, Myerstown, PA, 17067.

ROLL CALL:

Present were: Steven Hammer; Treasurer Bryan Rittle; Secretary Brian Ziegler; Vice Chairman Samuel Moyer: Chairman Patrick Angley; Engineer Farley F. Fry (absent); Solicitor Kenneth Sandoe; Eric Kaylor and Business Manager Steven Hickernell and Operations Manager Casey Walborn (absent).

MINUTES:

Motion by Mr. Hammer; Second by Mr. Rittle:  To approve the minutes of the November 13, 2025 meeting as distributed with a correction to include Terry Miller’s raise which was left off the original copy.  Motion passed unanimously.

Mr. Moyer abstained from the vote, due to his absence from the November 13, 2025 meeting.

________________________________

Samuel Moyer

CITIZEN’S COMMENTS

Daniel Ebling was present to ask for clarification on the bill he received from A. H. Moyer for the installation of the additional service to his property at 515 S. Railroad St.  Mr. Ebling requested an additional service while water main work was being performed by the Authority in the area; this was requested at a prior Authority meeting.  The work was performed but Mr. Ebling questioned why he should pay when he did not enter a written contract.  He was informed we needed to research prior documents and arrangements from when the service was abandoned, and respond to him when we have a full understanding.

COMMUNICATIONS:

- GASB-68 Report for 2024

INVOICES:

Motion by Mr. Rittle; Second by Mr. Ziegler:  To approve payment of the invoices as presented and attached.  Motion passed unanimously.

.

FINANCIAL REPORT:

No Financial Report was available at the time of the meeting.

OPERATIONS REPORT FOR DECEMBER 2025:

- Completed the PUC required online education requirement

- Effluent/Finished water meter yearly test was completed by Duffey

- A.H. Moyer fixed several valve boxes on N. College St. that were damaged and unusable

- Completed a 3-credit course online for the Lead and Copper revisions through DEP

- Water Service Professionals completed our 4th quarter filter evaluations

- Filter #3 Effluent Pratt valve not closing the whole way after use. As of now were hand closing it. I will be calling Quality Controls Inc. to see what can be done

- GMC – Inspection, tire rotation, oil change, coolant leak

- Comm failures again. Had to come in and reset 3 different occasions. Proposal attached to switch the “Negates” over to 24V power backups provided by GES. This may or may not solve the issue

- W. Washington Ct. Apts. had a substantial leak within their complex. We assisted in only shutting the water off in the pit for their repair

- Yeary unknown lead service letters will be going out within the next few short weeks. As required by DEP

- 4th qtr. DEP required sampling complete. We are done for the year

- 18 late notice postings hung

| Date |  | Well #3 |  | Well #5 |  | Well #6 |  | Well #8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11/13/2025 |  | 41' P |  | 41' S |  | 42' P |  | N/A |
| 11/20/2025 |  | 41' S |  | 42' S |  | 45' P |  | N/A |
| 11/26/2025 |  | 41' S |  | 42' S |  | 47' P |  | N/A |
| 12/4/2025 |  | 42' S |  | 43' S |  | 47' P |  | N/A |
| 12/11/2025 |  | 43' S |  | 45' S |  | 49' P |  | N/A |

OFFICE REPORT DECEMBER 2025

- There were 0 new connection fees paid since last meeting.

- There were 3 bad debits and a bad check last month last month. Three have been paid, the other is still outstanding.  The one bad debit somehow managed to pay through Invoice Cloud a second time, which should not have happened.

- Shutoff notices were sent to 45 properties this month.

- We posted 18 properties this month.

- All Kamstrup meters installed by Duffey are now entered into the system.

- Attached is a copy of the most recent Auditor’s Report that I do monthly.

CASH POSITION:

Was reviewed.

SOLICITOR’S REPORT:

Solicitor Sandoe reported that 3 Utility easements were prepared for Cornerstone Commons.

ENGINEER’S REPORT:

Was presented by Eric Kaylor, representative from Hanover Engineering, reviewed by Authority.

OLD BUSINESS:

Two separate LSA grant applications were submitted on November 28, 2025 with the help of Borough Manager Michael McKenna.  The SCADA application total was $ 894,828.00 and the Water Plant paving application total was 4 116,831.00.

The 2026 preliminary budget was discussed.

NEW BUSINESS:

The following motions were all made as one by Mr. Ziegler; Second by Mr. Moyer:

Invoice #s 202196 for $33.88

202204 for $25.88

202200 for $542.00

All to Hanover Engineering from the General Fund.  Motion passed unanimously.

The following motions were all made as one by Mr. Rittle; Second by Mr. Ziegler:

Invoice #s 202194 for $70.88

202195 for $67.76

202201 for $521.51

All to Hanover Engineering from the Wilmington Trust Account.  Motion passed unanimously.

Motion by Mr. Rittle; Second by Mr. Ziegler: To approve Redemption 59-2024, for $31838.32 to A. H. Moyer from the Wilmington Trust Account for Application #7 final payment.  Motion passed unanimously.

The following motions were all made as one by Mr. Hammer; Second by Mr. Moyer:

Invoice #s 202197 for $51.75

202205 for $3001.50

202203 for $51.75

202202 for $237.13

202198 for $47.25

All to Hanover Engineering from the General Account.  Motion passed unanimously.

Motion by Mr. Moyer; Second by Mr. Hammer: To approve Invoice number 202199 for $203.25 to Hanover Engineering from the 651 W. Lincoln Ave. Land Development Escrow Account.  Motion passed unanimously.

Motion by Mr. Ziegler; Second by Mr. Hammer: To approve Resolution 2025-05 for application to Statewide Local Share Assessment Grant for SCADA project.  Motion passed unanimously.

Motion by Mr. Ziegler; Second by Mr. Hammer: To approve Resolution 2025-06 for application to Statewide Local Share Assessment Grant for Water Plant final paving project.  Motion passed unanimously.

Motion by Mr. Hammer; Second by Mr. Rittle: To approve Resolution 2025-07 for the 2026 approved fee structure and rates.  Motion passed unanimously.

The 2026 Board meeting dates were discussed and agreed on.

The Hanover Engineering Fees Schedule was reviewed.

The Employee paid eye and dental coverage allowance was reviewed.  The medical allowance will be increased to $1000.00 per calendar year and the sentence “this calendar year allowance applies to the employee only, not dependents” will be removed.  Also, add in “no carryovers, no payouts”.

Motion by Mr. Hammer; Second by Mr. Rittle: To approve the above changes to the employee Paid Eye and Dental Coverage Allowance.  Motion passed unanimously.

Motion by Mr. Hammer; Second by Mr. Rittle: To approve the 2026 Budget and transfer $25,000 to the Vehicle Replacement Reserve Fund.  Motion passed unanimously.

ADJOURNMENT:

No further business to come before the meeting, the meeting was adjourned at 8:26 P.M., prevailing time.

Respectfully submitted,

Brian Ziegler

Secretary

Transcribed by Terry Miller

Asst. Sec.

`